## Slide 1: Robotics & Hip/Knee Replacements
Jeff Silverstein, MD, FAAOS
Orthopedic Surgeon
360 Orthopedics

## Slide 2: Goals of Hip/Knee Replacement
  Provide a new joint surface to replace worn out cartilage ( pain relief)
  Correcting alignment/length/deformity ( stability )

## Slide 3: Goals of Hip/Knee Replacement
How do we determine what angles/depths/rotations/tension/length
  Current techniques with manual instruments, Cutting guides/Jig

## Slide 4: Goals of Hip/Knee Replacement
Accuracy: refers to the closeness of a measured value to a standard.
Precision: refers to the closeness of two or more measurements to each other……CAN BE PRECISE BUT WRONG……

## Slide 5: We Want To Re-Create Our Mechanical Axis

## Slide 8: We want to re-create a neutral mechanical axis We want to create a stable knee joint

## Slide 9: How do we “re-create” a mechanical axis

## Slide 11: Rotation/Sizing

## Slide 12: Distal Femur Cut Surface

## Slide 14: Tibia

## Slide 15: Ligament Balancing
Want equal flexion/extension gaps
May have to release/strip
  MCL
  Hamstring
  Popliteal tendon
  ITB
  LCL

## Slide 18: Total Knee Arthroplasty

## Slide 19: Causes of painful TKA
  Instability
  Stiffness
  Wrong size components
  Component malposition, femur flexed/extended or varus / valgus
    Tibia anterior slope? Varus/Valgus
  Patella mal-tracking?
  Raise or lower joint line too much
  Joint too tight, overstuffed

## Slide 20: Complications/Mistakes

## Slide 21: Robotics & Hip/Knee Arthroplasty
Theoretically improves accuracy
  Implant sizing
  Depth of resection
  Implant rotation
  Implant position/slope/angle
  Knee tracking
  Ligament balancing
  Stability
  Leg Length
  PATIENT OUTCOMES

## Slide 22: Handheld devices

## Slide 24
(screen shot –
femur/tibia)
CT Scan, 3-D reconstruction of the patient’s knee
Patient-specific anatomic planning
Assists surgeon with optimal implant position & alignment
Notes: Lets understand the underlying disease stages that create the need for knee replacement procedures, if any of you read USA Today, you will note this week has a complete series on arthritis
There is a very sizable pool of patients who at some time will seek out a surgical solution for their advancing disease…
According to the American Academy of Orthopedic Surgeons, one out of 14 people in the US have Osteoarthritis of the knee, or 50 Million Patients
Lets look at the surgical interventions that are offered to this huge population of patients

## Slide 25: Place components Initially to Fit

## Slide 26: Place Arrays, Get Hip Center, Map Knee

## Slide 28: Adjust Initial Fit To “Balance Gaps”

## Slide 33: Intraoperative planning and balancing.

## Slide 35: Start TKA, Robotic Arm Makes Cuts…

## Slide 36
Resected bone
0.5mm
1mm

## Slide 38: Robotics & TKA
In my practice
  Started using 2019
    I clinically have not seen my robotic patients do any better than non-robotic cases
    Gives me comfort that I have the alignment where I want it
  Adds ~ 30 minutes per case currently
  May be better suited for really complex cases and not just every TKA
  Continuing to use it and see

## Slide 39: Robotics & THA
Goal is a stable hip and equal leg lengths
Acetabulum: Position very important for hip stability
Femur: Important in length and offset

## Slide 40: Acetabulum & THA
Acetabulum/socket
  Position Affects Stability
  Affects ROM
  Tough part to get into right position

## Slide 41: Instability/Acetabulum Angles

## Slide 42: THA ( Acetabulum )
Getting cup into 45 deg inclination & 20 deg version very hard
Patient lateral, supine, pelvis rotation, spine fused

## Slide 43: Cup in right position

## Slide 44: Acetabular Cup Planning
Notes: 44
SCRIPT: Due to the anatomic and biomechanic variability that exists between patients, the software does not limit the surgeon to this range of combined anteversion but rather provides a guideline. The center of rotation, the inclination, the size and the coverage are additional planning parameters that can be updated at this stage of intraoperative cup planning.
Based on this 3D plan of the acetabulum and femur, complete visualization of the planned implant positions can be observed as well as a prediction of the resultant hip length and offset.

## Slide 48: Femur Preparation
Leg Length
Hip Offset

## Slide 49: Robotic & THA

## Slide 50: Femoral Plan
Notes: 50
    The femur is prepared under navigation in a standard fashion. The neck is resected, the femur is broached and the position and orientation of the final broach is measured.
    ------------
    The size and approximate position of the femoral stem is established through virtual templating. Depending on the native and/or the planned center of rotation of the acetabulum (shown in pink and green respectivley), the optimal neck length of the femoral prosthesis can be selected from the available neck lengths in the implant system (shown in yellow).

## Slide 52: Robotic Guidance
Visual Feedback
  Green/White/Red
Tactile Feedback
  Haptic Stiffness (0.5-1mm)
Audible Feedback
  Beeping (0.5-1mm)
Resected bone
0.5mm
1mm
Notes: 52
Robotic Guidance: During robotic reaming, the surgeon’s objective is to remove the green volume of bone which represents the planned bone resection.
Once the plan is met within half a millimeter, the bone appears white.
If the surgeon tries to resect more than 0.5mm of bone outside of the plan, the region of bone turns red, a haptic reaction force is felt and is accompanied by an audible warning.
Beyond 1mm, the reamer shuts off, preventing the surgeon from over reaming the bone.
---------------
Possibly mention single stage reaming
Mention ability to ream freely
1) The haptic cone is 10 degree
2) Haptic stiffness is 15000 N/mm (15N/m)
3) Burr shut off limit is 40N and beeping force is 30N
4) The haptic is set to back up 1.0mm along the cup normal in the direction of out of cup
For any of the displayed M/L, A/P and C/C values, if the tool tip compared to the planned cup center is:
1) over the plan 1mm, the number turns to RED
2) approaching the plan and far from the plan more than 0.5mm, the number is in WHITE
3) otherwise, the number is in GREEN
For inclination and version numbers:
if the inclination and version of the tool axis compared to the planned inclination and version are:
1) less than 10 degree, the number is in GREEN
2) otherwise, in WHITE
For the visualization:
1) For non reamed bone is in GREEN
2) If reaming is right on the plan, in WHITE
3) If over-cut 1mm, in RED

## Slide 53: Acetabular Results
USING HAPTIC ROBOTIC GUIDANCE:
Anteversion
  All errors were less than ± 3°
  Average error 1.3 ± 1.4°
  4.8 times more accurate than conventional
Inclination
  All errors were less than ±3°
  Average error 1.5±1.2°
  4.2 times more accurate than conventional
Notes: 53
53
Results: Robotic guidance resulted in placement of the acetabular cup within ±3° of anteversion and inclination in 100% of the cases, compared to only 16% of the manual cases.
The average absolute errors with the robot were approximately 1.5°.
The error ratio comparing manual instrumentation was, on average, 4.8 times higher in anteversion and 4.2 times higher in inclination compared to robotic preparation.

## Slide 54: Robotics & THA/TKA Replacements
It adds ~ 30 mins per case
More moving parts, technology, staff needs training
Logistics of having 1 robot, multiple rooms/surgeons
Pre-op scans
I use it for more difficult cases only @ this time
Using Direct Anterior hip with intra-operative flouro has helped me
I will continue to use just still adapting to my practice

## Slide 55: Robotics & THA/TKA Replacements
Remember it’s garbage in/garbage out; so it’s not designed to do the surgery for you.
It’s a robotic arm YOU program and YOU control
If it breaks/loses power you better know how to do it on your own
Sometimes I change things on the fly

## Slide 56: THANK YOU